## Huza Technologies BoM
Huza Technologies Bill of materials
Item No | Item Description | Qty | Qty Desc. | Unit cost | Total cost | URL
1 | Ethernet Cables (Cat6) | 3 | 100 Meters | 16.89 | 246.86 | https://www.alibaba.com/product-detail/Wholesale-Sale-High-Speed-8-Cores_1600845684982.html?spm=a2700.details.0.0.5392606eTQNlOC
2 | Switches Cisco- Catalyst 2960 | 7 | Pieces | 287.98 | 2015.86 | https://www.amazon.com/TRENDnet-28-Port-Lifetime-Protection-TEG-30284/dp/B0C1S58JN5/ref=sr_1_16?crid=2I6SYGROVQ7F4&keywords=cabling%2BTrunk&qid=1702673456&sprefix=cabling%2Btrunk%2Caps%2C388&sr=8-16&th=110_1600736440642.html?spm=a2700.galleryofferlist.p_offer.d_title.65787128mCh0yO&s=p
3 | Wireless Routers(Access Point) | 5 | Pieces | 115 | 375 | https://www.alibaba.com/product-detail/High-Performance-WiFi-Access-Point-Ub_1600878909231.html?spm=a2700.galleryofferlist.normal_offer.d_title.5a387a9dVM1CV0
4 | Cat6 RJ45 Ends | 42 | Pieces | 12.5 | 525 | https://www.amazon.com/CableCreation-100-PACK-Connector-Connectors-Transparent/dp/B01K9Z4FT2
5 | Routers | 1 | Pieces | 629 | 629 | https://www.alibaba.com/product-detail/All-in-one-Access-Router-TOP_1600448706774.html?spm=a2700.galleryofferlist.topad_classic.d_title.308e1c70FyT6Rr
6 | Server | 1 | Pieces | 2375 | 2375 | https://www.alibaba.com/product-detail/Server-Computer-Hot-Selling-Factory-Inventory_1600697681328.html?spm=a2700.galleryofferlist.topad_classic.d_title.3d1c214bQjQZ0d
7 | A/C 12000 BTU | 1 | Pieces | 120 | 120 | https://www.alibaba.com/product-detail/Industrial-Wall-Mounted-Floor-Standing-Ultra_1600585759963.html?spm=a2700.galleryofferlist.p_offer.d_price.284d625elzfzgv&s=p
8 | Trunk | 10 | Pieces | 10 | 100 | https://www.alibaba.com/product-detail/Fiberglass-Cable-Tray-Frp-Cable-Trunking_1600732600275.html?spm=a2700.7735675.0.0.2600qkQeqkQecx&s=p
9 | Rack 24U | 5 | Pieces | 894.88 | 4474.4 | https://www.amazon.com/StarTech-com-24U-Server-Rack-Cabinet/dp/B071KW98RM/ref=sr_1_2?crid=3QWQAGGJCEPTY&keywords=Rack+24U&qid=1702673807&sprefix=rack+24u%2Caps%2C364&sr=8-2
10 | Rack 9U | 2 | Pieces | 167.44 | 334.88 | https://www.amazon.com/V7-RMWC9UV450-1N-Cabinet-Enclosure-Vented/dp/B07NPG9TN9/ref=sr_1_3?crid=168ESCO3835QP&keywords=Rack+9U&qid=1702673707&sprefix=rack+9u%2Caps%2C527&sr=8-3
11 | Patch Pannel 24 Ports | 3 | Pieces | 42.24 | 88.12 | https://www.alibaba.com/product-detail/24-port-patch-panel-cat6-Diagonal_1600885979909.html?spm=a2700.galleryofferlist.normal_offer.d_title.6dc07bdfbJpfUQ
12 | PDU | 3 | Pieces | 5.31 | 15.93 | https://www.alibaba.com/product-detail/Pdu-PDU-With-8-outputs-IEC_1600972433785.html?spm=a2700.galleryofferlist.p_offer.d_price.288ffbe9qx9JNl&s=p
13 | UPS 10KVA | 1 | Pieces | 2510 | 2510 | https://www.alibaba.com/product-detail/Online-Double-Conversion-EATON-UPS-DX_62276299256.html?spm=a2700.galleryofferlist.p_offer.d_title.469b39e4aZ6dlY&s=p
| Total of Material |  |  |  | 13810.05
| Labor | 15% |  |  | 2071.5075
| Grand Total |  |  |  | 15881.5575
|  |  |  | Rwf | 19851946.875